PURGING OF OLD CALIBRATION HISTORIES FROM MET/BASE USING SYBASE ISQL

Application Information

For Met/Base V5.X and V6.0

This application involves the use of Sybase ISQL. No attempt will be made to explain the ISQL commands used here, only the procedure to use them. Make sure that you back up the data base before starting this procedure. This procedure is designed to remove large numbers histories that have calibration due dates prior to a given date. If a smaller number of histories is to be deleted this should be accomplished from the Manual Input deleting selected records.

This is a "Top Down" procedure. In order to purge the calibration histories from the data base, the various fields listed here must be deleted in the order shown.

The data base structure looks something like this:

Standards*  		    Calrelults

\                               /

\                           /

\                       /

\                   /

\               /

Calibration

The top layers must be removed before the next layer can be deleted.

* NOTE: Do not delete items in the Standards table. This will invalidate histories on assets using these standards.

First start ISQL and log in as the “MT” user. Enter the following in the command window to display a list of items to be deleted then click on “Execute”:

SELECT I4201, c2301,c2303 from inventory,calibration

WHERE c2303 < '1995-10-10'

AND mt.inventory.mtag = mt.calibration.mtag

ORDER by i4201

A list of assets and calibration date fields will be displayed in the 'DATA' window. Look this list over to make sure these are what you want to delete.

This first section will tell you if you have any cal results that need to be purged for the assets selected from the critera < '1994-01-01'

SELECT i4201,c2303, calibration.ctag, c2501

FROM  calibration,inventory,calresults

WHERE c2303  <  '1994-01-01'

AND mt.inventory.mtag = mt.calibration.mtag

AND calibration.ctag = calresults.ctag

These commands delete the calresults for assets with old dates

DELETE calresults

FROM calresults,calibration,inventory

WHERE c2303 < '1994-01-01'

AND mt.inventory.mtag = mt.calibration.mtag

These commands delete the standards used from the standards table

DELETE standards

FROM standards,calibration,inventory

WHERE c2303 < '1994-01-01'

AND mt.inventory.mtag = mt.calibration.mtag

AND mt.calibration.ctag = mt.standards.ctag

Finally, these commands delete the cal records.

DELETE from mt.calibration

WHERE mt.calibration.mtag

IN (select mtag from mt.inventory

WHERE  c2303 < '1994-01-01')

PO Box 9090, Everett, WA USA 98206

Fluke Europe B.V.

PO Box 1186, 5602 BD

Eindhoven, The Netherlands

For more information call:

In the U.S.A. (800) 443-5853 or

Fax (206) 356-5116

In Europe (21 40) 2 678 200 or

Fax (21 40) 2 678 222

In Canada (905) 890-7600 or

Fax (905) 890-6866

From other Countries (206) 356-5500