BULK PURGING OF ASSETS FROM MET/BASE USING ISQL

Application Information

This application involves the use of ISQL. No attempt will be made to explain the ISQL commands used here, only the procedure to use them. This procedure is designed to remove large numbers of assets which have previously been marked in a “D” (Delete) state. If a smaller number of assets is to be deleted this should be accomplished from the Manual Input by doing a “find” on the STATE field set to “D”.

This is a "Top Down" procedure. In order to purge the assets from the data base, the various fields listed here must be deleted in the order shown.

The data base structure looks something like this:

Standards*  		    Calrelults

\                               /

\                           /

\                       /

\                   /

\               /

\            /

Calibration     Repair      Location    Assethistory

\           |           /	     /

\         |         /		   /

\       |       /		/

\     |     /	        /

\   |   /	      /

Inventory

The top layers must be removed before the next layer can be deleted.

* NOTE: Do not delete items in the Standards table. This will invalidate histories on assets using these standards.

First start ISQL and log in as the “MT” user. Enter the following in the command window to display a list of items to be deleted then click on “Execute”:

SELECT * from inventory where i4299 = 'D'

A list of assets and their fields will be displayed in the 'DATA' window. Look this list over to make sure these are what you want to delete.

Next, check to see if one of the items marked for deletion is a standard that is in use. If anything appears in the data window - STOP - You have an in-use standard marked for deletion. (SELECTSTD.SQL)

SELECT

c2430, i4299, i4201, mt.standards.mtag, mt.inventory.mtag

FROM standards, inventory

WHERE i4299 = 'D'

AND mt.inventory.mtag = mt.standards.C2430

First delete the entries for the standards for the selected assets

DELETE standards	FROM standards, inventory

WHERE i4299 = 'D'

AND mt.inventory.mtag = mt.standards.C2430

Next, delete entries in calresults if I4299 = "D":

DELETE calresults

FROM calresults, inventory

WHERE i4299 = 'D'

AND mt.inventory.mtag = mt.calresults.mtag

Now the data structure looks like this for the assets that were marked for deletion:

Calibration     Repair      Location    Assethistory

\           |           /

\         |         /

\       |       /

\     |     /

\   |   /

Inventory

Now we will delete the histories.

Delete asset history:

DELETE assethistory

WHERE mt.assethistory.mtag

IN (select mtag from mt.inventory where mt.inventory.i4299 = 'D')

Delete location histories:

DELETE from mt.location

WHERE mt.location.mtag

IN (select mtag from mt.inventory where mt.inventory.i4299 = 'D')

Delete repair records:

DELETE from mt.repair

WHERE mt.repair.mtag

IN (select mtag from mt.inventory where mt.inventory.i4299 = 'D')

Delete cal records:

DELETE from mt.calibration

WHERE mt.calibration.mtag

IN (select mtag from mt.inventory where mt.inventory.i4299 = 'D')

And finally delete inventory records:

DELETE from mt.inventory

WHERE mt.inventory.i4299 = 'D'

Now all of the records marked for deletion have been removed.

PO Box 9090, Everett, WA USA 98206

Fluke Europe B.V.

PO Box 1186, 5602 BD

Eindhoven, The Netherlands

For more information call:

In the U.S.A. (800) 443-5853 or

Fax (206) 356-5116

In Europe (21 40) 2 678 200 or

Fax (21 40) 2 678 222

In Canada (905) 890-7600 or

Fax (905) 890-6866

From other Countries (206) 356-5500