Software Validation in Accredited Laboratories,
A Practical Guide

There are three types of software products in computers or automated systems used for the acquisition, processing, recording, reporting, storage, or retrieval of accredited laboratory calibration / test data.

| COTS – Commercial off the shelf | MOTS – Modified off the Shelf | CUSTOM |
| --- | --- | --- |

These three types of software can reside on local hard drives, network hard drives, embedded on integrated circuits (IC, ROM, EPROM), or removable disks.  This presentation explains each type of software and provides practical approaches to requirements, design, testing, deployment, and configuration management practices.  Utilizing this methodology will ensure evidence exists to consider the software suitably validated and adequate for use.