| Standards Council of Canada |  | Conseil canadien des normes |
| --- | --- | --- |

(INTERIM 1)

CAN-P-1510D (ASSESSMENT RATING GUIDE)

FOR USE WITH

CAN-P-4D

“GENERAL REQUIREMENTS FOR THE COMPETENCE

OF TESTING AND CALIBRATION LABORATORIES”

2000-03-24

This document supersedes CAN-P-1510C

Copyright © Standards Council of Canada, 2000

All rights reserved.  No part of this publication may be reproduced, stored in a retrieval system, or transmitted, in any form or by any means, electronic, mechanical, photocopying, recording or otherwise, without the prior written permission of the publisher:

The Standards Council of Canada

45 O’Connor Street, Suite 1200

Ottawa, Ontario

K1P 6N7

Canada

Tel.: (613) 238-3222

Fax.: (613) 995-4564

NOTE : 	On peut obtenir un exemplaire français de ce document en écrivant au :

Conseil canadien des normes

1200-45 rue O'Connor, OTTAWA (Ontario), K1P 6N7

Tél.: (613) 238-3222.

Fax.: (613) 995-4564.

Table of Contents

FOREWORD	ii

PREFACE	iii

4.0  Management Requirements	1

4.1  Organization	1

4.2  Quality System	2

4.3  Document Control	3

4.4  Review of Requests, Tenders and Contracts	4

4.5  Subcontracting of tests and calibrations	5

4.6  Purchasing Services and Supplies	5

4.7  Service to Client	5

4.8  Complaints	5

4.9  Control of Nonconforming testing and/or Calibration Work	6

4.10  Corrective Action	6

4.11  Preventive Action	6

4.12  Control of Records	7

4.13  Internal Audits	8

4.14  Management Reviews	9

5.0  Technical Requirements	10

5.2  Personnel	10

5.3  Accommodation and Environmental Conditions	11

5.4  Test and Calibration Methods and Method Validation	11

5.5  Equipment	14

5.6  Measurement Traceability	16

5.7  Sampling	17

5.8  Handling of Test and Calibration Items	17

5.9  Assuring the Quality of Test and Calibration Results	18

5.10  Reporting the Results	19

# FOREWORD

The Standards Council of Canada ("the Council") is a Crown corporation established by an Act of Parliament in 1970, amended in 1996, to foster and promote efficient and effective voluntary standardisation in Canada.  It is independent of government in its policies and operations, although it is financed partially by Parliamentary appropriation.  The Council consists of members from government and the private sector.

The mandate of the Council is to promote the participation of Canadians in voluntary standards activities, promote public-private sector co-operation in relation to voluntary standardisation in Canada, co-ordinate and oversee the efforts of the persons and Organizations involved in the National Standards System, foster quality, performance and technological innovation in Canadian goods and services through standards-related activities, and develop standards-related strategies and long-term objectives.

In essence, the Council promotes efficient and effective voluntary standardisation in Canada in order to advance the national economy, support sustainable development, benefit the health, safety and welfare of workers and the public, assist and protect consumers, facilitate domestic and international trade and further international co-operation in relation to standardisation.

In addition, the Council serves as the government’s focal point for voluntary standardization, represents Canada in international standardization activities, sets out policies and procedures for the development of National Standards of Canada, and for the accreditation of standards development organizations, of certification organizations, of calibration and testing laboratories, of quality and environmental management systems registration organizations, and of quality management systems and environmental auditor certifiers and training course providers, and promotes and supports the principle of recognition of accreditation or equivalent systems as a means of decreasing the number of multiple assessments and audits, both in Canada and with Canada’s trading partners.

This document is one of several issued by the Standards Council of Canada to define the policies, plans, and procedures established by the Council to help achieve its mandate.

Requests for clarification and recommendations for amendment of this document, or requests for additional copies, should be addressed to the publisher directly or by accessing the SCC Internet web site at: http://www.scc.ca

# PREFACE

This document forms part of a series of Standards Council of Canada (SCC) CAN-P documents dealing with the voluntary accreditation of Organizations involved in standards development, product certification, calibration and testing, quality management systems (QMS) and environmental management systems (EMS) registration, environmental and quality auditor certifiers and training course providers.

Accreditation by the SCC is the formal recognition of the competence of a laboratory to manage and perform specific tests or types of tests recognised and listed by the SCC.  It is not a guarantee that test results will conform with standards or agreements between a calibration or testing laboratory and its clients or that test results are acceptable to certification Organizations.  Business transactions between an accredited calibration or testing laboratory and its clients are legal matters between the two parties.

Accreditation is available for all types of tests, measurements and observations and is currently offered in the following fields of testing: Acoustics & Vibration, Biological, Calibration, Chemical, Electrical/Electronic, Ionising Radiation, Mechanical, Non-destructive Evaluation, Optics & Optical Radiation, Thermal & Fire.

A listing of each accredited laboratory, with a summary of its accredited testing capabilities by classes of products and services along with a list of detailed scope of testing is published on the SCC website, www.scc.ca.

To become accredited, laboratories must meet the general requirements outlined in this document, which are those in the international standard, ISO/IEC 17025-1999, General requirements for the competence of testing and calibration laboratories. This will be verified by the Standards Council’s accreditation process.  In addition, laboratories must demonstrate competence to perform the specific tests or types of test for which they wish to become accredited. Applicants must also agree to abide by the SCC conditions for accreditation found in associated documents used by the SCC’s Program for the Accreditation of Laboratories – Canada (PALCAN).  The documents are identified in the PALCAN Handbook, which details other program processes. In addition, there are a number of Program Specialty Areas (PSA)s addressing specific requirements for specialty areas such as Environment, Agriculture and Food Products, Forensic, Mineral Analysis, etc.

The accreditation procedures of the SCC conform to the recommendations of the International Laboratory Accreditation Conference (ILAC) and others detailed in the Bibliographical section of this document.

Supplementary information regarding the program is available on the SCC website and from the PALCAN Secretariat.

This Preface is not an integral part of this document

##### Assessor Notes on the Use of

The Assessment Rating Guide (CAN-P-1510D)

### Elements

- Section 4 (Management Requirements)  - used by TLs and SPOs

- Section 5 (Technical Requirements)  - used by TAs

3.  Items (cf. ISO 17025) New Items cf. Guide 25

- summary heading

- reference to standard clause (x.x.x)

- Requirements (specific detail of the item documented)

- bulleted requirements (Yes, No, NA); No means a variance

- Categories of Conformance/Non-Conformance (1, 2, 3)

a) Category 1.	Requirement is met

b) Category 2.	Some Action is Required

c) Category 3.	Not applicable

- Category 2 (Notations and Indications of Non-Conformances)

- Required Actions: deficiency is deemed to compromise quality of the data

- Recommended Actions: deficiency is deemed not to compromise quality of the data

- Suggestions: downgraded action when deficiency not related to non-compliance with ISO 17025; an observation

- Comments Section

Note: Compare with CAN-P-4D (ISO 17025): become familiar with the standard

| ## 4.0 Management Requirements |  |  |
| --- | --- | --- |
| ### 4.1 Organization |  |  |
| ITEM | REQUIREMENT | 1 2 3 COMMENTS |
| Laboratory Registration 4.1.1 | ensure the laboratory is appropriately registered for legal process |  |
| Scope of Management System 4.1.3 | ensure management system covers activities in the laboratory’s permanent facility, sites away from its permanent facilities, or temporary/mobile facilities |  |
| Conflict of Interest 4.1.4 | when part of an organization, ensure the laboratory defines the responsibilities of key personnel to identify potential conflicts of interest |  |
| Management and Technical Personnel 4.1.5a | ensure management and technical personnel have the authority and resources needed to carry out duties |  |
| Undue Pressure 4.1.5b | ensure arrangements are in place so that management and personnel are free from internal and external commercial, financial and other pressures that might adversely affect the quality of their work |  |
| Client Confidentiality 4.1.5c | ensure there are policies and procedures related to client confidentiality, including electronic storage and transmission of results |  |
| Operational Integrity 4.1.5d | ensure the laboratory has policies and procedures to avoid involvement in activities that compromise the confidence in its competence, impartiality, judgement or operational integrity |  |

| ITEM | REQUIREMENT | 1 2 3 COMMENTS |
| --- | --- | --- |
| Organization Chart(s) 4.1.5e | ensure the organization defines the relation of all staff including the inter-relation between management, technical operations, support services and the quality system and, if applicable, the position of the laboratory within the parent organization |  |
| Responsibility and Authority 4.1.5f | define the responsibility and authority of all personnel who manage, perform or verify work affecting the quality |  |
| Laboratory Supervision 4.1.5g | ensure adequate supervision of personnel for calibration and testing activities |  |
| Technical Management 4.1.5h | identify technical management that has overall responsibility for technical operations and resources |  |
| Quality Manager 4.1.5i | appoint a member of staff as quality manager who has defined authority and responsibility for implementing and overseeing the quality system, with direct access to senior management |  |
| Managerial Substitution 4.1.5j | ensure designated staff are available to substitute for key managerial personnel, where practical |  |

| ### 4.2 Quality System |  |  |
| --- | --- | --- |
| Policies and Procedures 4.2.1 | document policies and procedures related to the quality system and ensure they are communicated, understood and implemented |  |

| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Quality Manual 4.2.2, 4.2.3, 4.2.4 | maintain a quality manual that: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  |  documents an authorized quality policy statement and supporting quality objectives | — | — | — |  |  |
|  |  includes or makes reference to supporting procedures | — | — | — |  |  |
|  | - defines the roles and responsibilities of technical management and the quality manager | — | — | — |  |  |
| Quality Policy Statement 4.2.2 | ensure the quality policy statement includes: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - the laboratory management's commitment to good professional practice and quality of its service | — | — | — |  |  |
|  | - a statement of the laboratory's standard of service | — | — | — |  |  |
|  | - the objectives of the quality system | — | — | — |  |  |
|  | - a requirement for personnel to be familiar with and implement the quality documentation | — | — | — |  |  |
|  | - the laboratory compliance with CAN-P-4D | — | — | — |  |  |
| ### 4.3 Document Control |  |  |  |  |  |  |
| Policies and Procedures 4.3.1 | ensure procedures to control all quality system documentation are established and maintained |  |  |  |  |  |
| Approval and Issue 4.3.2 | ensure documents are reviewed and approved by authorized personnel prior to issue, and are periodically reviewed to ensure continuing suitability |  |  |  |  |  |
| Master List 4.3.2.1 | maintain a master list of all quality documentation which documents current revisions |  |  |  |  |  |
| Availability 4.3.2.2 | ensure all quality documentation is available where required and removed when obsolete |  |  |  |  |  |

| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Obsolete Documents 4.3.2.2 | ensure obsolete documents retained for either legal or knowledge preservation purposes are suitably marked |  |  |  |  |  |
| Identification 4.3.2.3 | ensure all quality documentation is identified by: date of issue and/or revision number, page numbering, total number of pages or a mark to signify the end of the document, and the issuing authority(ies) |  |  |  |  |  |
| Document Changes 4.3.3.1 | ensure changes to documents are reviewed and approved by the same function that performed the original review, or a designate |  |  |  |  |  |
| Altered or New Text 4.3.3.2 | ensure the altered or new text is identified in the document or the appropriate attachments, as practical |  |  |  |  |  |
| Handwritten Amendments 4.3.3.3 | define procedures and authority for handwritten amendments to documents, and formal re-issue |  |  |  |  |  |
| ### 4.4 Review of Requests, Tenders and Contracts |  |  |  |  |  |  |
| Policies and Procedures 4.4.1 | ensure policies and procedures related to review of requests, tenders and contracts are established and maintained |  |  |  |  |  |
| Records of Review 4.4.1 to 4.4.5 | maintain records of reviews, that include: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - client requirements | — | — | — |  |  |
|  | - laboratory capability and resources | — | — | — |  |  |
|  | - appropriate method selection | — | — | — |  |  |
|  | - subcontracted work | — | — | — |  |  |
|  | - contract amendments | — | — | — |  |  |
| Notification of Client 4.4.4 | ensure client is informed of any deviations from the contract |  |  |  |  |  |

| ### 4.5 Subcontracting of Tests and Calibrations |  |  |
| --- | --- | --- |
| ITEM | REQUIREMENT | 1 2 3 COMMENTS |
| Competency 4.5.1, 4.5.4 | ensure that subcontractors are competent (e.g., comply with CAN-P-4-D) and maintain records of competent subcontractors used |  |
| Client Approval 4.5.2, 4.5.3 | ensure client approval has been obtained before work is sub-contracted, unless specified by the client or regulatory authority |  |
| ### 4.6 Purchasing Services and Supplies |  |  |
| Policies and Procedures 4.6.1 | document policies and procedures related to procurement, reception and storage of services and supplies |  |
| Verification 4.6.2 | ensure all purchased supplies that affect the quality are not used until verified compliant with specifications, and maintain records |  |
| Purchasing Documents 4.6.3 | ensure purchasing documents are reviewed and approved for technical content prior to release |  |
| Approved Suppliers 4.6.4 | maintain a list and records of investigation of all approved suppliers |  |
| ### 4.7 Service to Client |  |  |
| Policies and Procedures 4.7 | ensure policies and procedures are in place for cooperation with clients |  |
| ### 4.8 Complaints |  |  |
| Complaints 4.8 | document policies and procedures for the resolution of complaints from clients or other parties and |  |
| Records 4.8 | maintain records of complaints, investigations and corrective actions |  |

| ### 4.9 Control of Nonconforming testing and/or Calibration Work |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |
| Policies and Procedures 4.9 | ensure policies and procedures related to work or results that do not conform to procedures or client requirements are implemented; the procedures shall ensure: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - responsibilities and authorities are defined | — | — | — |  |  |
|  | - evaluation of the significance of the non-conformance is made | — | — | — |  |  |
|  | - remedial actions are taken immediately | — | — | — |  |  |
|  | - client is notified and work recalled, if necessary | — | — | — |  |  |
|  | - responsibility for authorizing the resumption of work is defined | — | — | — |  |  |
| ### 4.10 Corrective Action |  |  |  |  |  |  |
| Policies and Procedures 4.10 | document policies and procedures and designate appropriate authorities for implementing corrective actions; the procedures shall include: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - cause analysis | — | — | — |  |  |
|  | - selection and implementation | — | — | — |  |  |
|  | - monitoring and documenting actions | — | — | — |  |  |
| ### 4.11 Preventive Action |  |  |  |  |  |  |
| Action Identification 4.11.1 | ensure needed improvements and potential sources of nonconformances are identified |  |  |  |  |  |
| Action Plans 4.11.1, 4.11.2 | ensure preventive action plans are developed, implemented and monitored for effectiveness |  |  |  |  |  |

| ### 4.12 Control of Records |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |
| Procedures 4.12.1 | document procedures related to control of quality and technical records: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - identification | — | — | — |  |  |
|  | - collection | — | — | — |  |  |
|  | - indexing | — | — | — |  |  |
|  | - access | — | — | — |  |  |
|  | - filing | — | — | — |  |  |
|  | - storage and retention times | — | — | — |  |  |
|  | - maintenance | — | — | — |  |  |
|  | - protection, backup and access of electronic records | — | — | — |  |  |
|  | - disposal | — | — | — |  |  |
| Record Integrity 4.12.1 | ensure all records are: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - legible | — | — | — |  |  |
|  | - readily retrievable | — | — | — |  |  |
|  | - maintained in a suitable environment | — | — | — |  |  |
|  | - held secure and in confidence | — | — | — |  |  |
| Technical Records 4.12.2 | ensure laboratory retains technical records of: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - all original observations | — | — | — |  |  |
|  | - derived data | — | — | — |  |  |
|  | - sufficient information to establish an audit trail | — | — | — |  |  |
|  | - calibration records | — | — | — |  |  |
|  | - staff records | — | — | — |  |  |
|  | - copies of each test report or calibration certificate | — | — | — |  |  |
|  | - personnel responsible for the sampling | — | — | — |  |  |
|  | - personnel responsible for test/calibration | — | — | — |  |  |
|  | - personnel responsible for checking results | — | — | — |  |  |

| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Record Information 4.12.2 | ensure records maintained contain sufficient information to: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - identify factors affecting uncertainty | — | — | — |  |  |
|  | - enable the original method conditions to be repeated | — | — | — |  |  |
| Recording 4.12.2.2 | ensure observations, data and calculations are recorded at the time they are made and be identifiable to the specific task |  |  |  |  |  |
| Corrections to Records 4.12.2.3 | ensure any changes to the original records (including electronic) are made so that: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - original record is not obscured | — | — | — |  |  |
|  | - correct value entered alongside | — | — | — |  |  |
|  | - alterations authorised by initial | — | — | — |  |  |
| ### 4.13 Internal Audits |  |  |  |  |  |  |
| Requirements 4.13 | ensure internal audits are periodically conducted to verify operations comply with the requirements of the quality system and CAN-P-4-D; ensure that: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - audits follow a predetermined schedule and procedure | — | — | — |  |  |
|  | - audits are planned and organized by the Quality Manager | — | — | — |  |  |
|  | - audits are conducted by trained and qualified personnel, independent of the activity to be audited where resources permit | — | — | — |  |  |
|  | - corrective actions are implemented | — | — | — |  |  |
|  | - the client is notified in writing of compromised results | — | — | — |  |  |
|  | - records of audits and corrective actions are maintained | — | — | — |  |  |
|  | - follow-up audits verify the effectiveness of corrective actions | — | — | — |  |  |

| ### 4.14 Management Reviews |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |
| Objectives 4.14.1 | ensure the laboratory periodically carries out management review of the quality system, based on predetermined schedule and procedure, to ensure continuing suitability and effectiveness and to introduce necessary changes or improvements |  |  |  |  |  |
| Contents 4.14.1 | ensure the contents of the management review include: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - suitability of policies and procedures | — | — | — |  |  |
|  | - reports from managerial and supervisory personnel | — | — | — |  |  |
|  | - outcome of recent internal audits | — | — | — |  |  |
|  | - corrective and preventive actions | — | — | — |  |  |
|  | - assessments by external bodies | — | — | — |  |  |
|  | - results of interlaboratory comparisons or proficiency tests | — | — | — |  |  |
|  | - changes in the volume and type of the work | — | — | — |  |  |
|  | - client feedback | — | — | — |  |  |
|  | - complaints | — | — | — |  |  |
|  | - other relevant factors (e.g., quality control activities, resources and staff training) | — | — | — |  |  |
| Actions Taken 4.14.2 | ensure actions are carried out within an appropriate and agreed timescale |  |  |  |  |  |
| Records 4.14.2 | maintain records of management reviews and actions taken |  |  |  |  |  |

| ## 5.0 Technical Requirements |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ### 5.2 Personnel |  |  |  |  |  |  |
| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |
| Qualifications 5.2.1 | ensure personnel performing specific tasks are qualified on the basis of education, training, experience and/or demonstrated skills |  |  |  |  |  |
| Trainees 5.2.1 | ensure staff being trained have adequate supervision |  |  |  |  |  |
| Training Policy 5.2.2 | document policies and procedures for identifying training needs and provision of training |  |  |  |  |  |
| Employees 5.2.3 | ensure personnel are employed or contracted by the laboratory, and ensure contracted personnel are supervised, competent and work in accordance with the quality system |  |  |  |  |  |
| Job Descriptions 5.2.4 | document current job descriptions for managerial, technical and key support staff |  |  |  |  |  |
| Authorized Personnel 5.2.5 | ensure management has authorized specific personnel to: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - perform specific sampling, testing and/or calibration | — | — | — |  |  |
|  | - issue test and/or calibration reports | — | — | — |  |  |
|  | - give opinions and interpretations | — | — | — |  |  |
|  | - operate particular types of equipment | — | — | — |  |  |
| Records 5.2.5 | ensure laboratory maintains records for all technical personnel (including contracted personnel) for: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - relevant authorization(s) | — | — | — |  |  |
|  | - competence | — | — | — |  |  |
|  | - educational and professional qualifications | — | — | — |  |  |
|  | - training, skills and experience | — | — | — |  |  |

| ### 5.3 Accommodation and Environmental Conditions |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |
| Facility 5.3.1 | ensure the laboratory or off-site facility(ies) accommodation and environmental conditions do not compromise the quality of results |  |  |  |  |  |
| Monitoring 5.3.2 | ensure laboratory monitors, controls and records environmental conditions, where applicable |  |  |  |  |  |
| Termination 5.3.2 | ensure tests and/or calibrations are terminated when results are jeopardised by the environmental conditions |  |  |  |  |  |
| Incompatible Activities 5.3.3 | ensure there is effective separation between areas of incompatible activity |  |  |  |  |  |
| Access 5.3.4 | ensure access to office and laboratory areas is controlled |  |  |  |  |  |
| Housekeeping 5.3.5 | ensure housekeeping measures are adequate |  |  |  |  |  |
| ### 5.4 Test and Calibration Methods and Method Validation |  |  |  |  |  |  |
| Methods and Procedures 5.4.1 | ensure laboratory uses appropriate methods and procedures for calibrations and tests including, where appropriate, estimation of uncertainty and statistical techniques for analysis of data |  |  |  |  |  |
| Equipment Instructions 5.4.1 | ensure laboratory uses appropriate instructions for the operation of equipment, where the absence of the instructions would affect the work |  |  |  |  |  |
| Method Deviations 5.4.1 | ensure that deviations from the test and calibration methods are: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - documented | — | — | — |  |  |
|  | - technically justified | — | — | — |  |  |
|  | - authorized | — | — | — |  |  |
|  | - accepted by client | — | — | — |  |  |

| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Method Selection 5.4.2 | ensure laboratory selects test and/or calibration methods that: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - meet the needs of the client; and | — | — | — |  |  |
|  | - are appropriate for the test and/or calibration | — | — | — |  |  |
|  | - where appropriate, are based on latest international, regional or national standards | — | — | — |  |  |
| Non-specified Method Selection 5.4.2 | for non-client specified methods, ensure the laboratory informs the client of the method chosen, and selects methods that are either: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - published reference methods; or | — | — | — |  |  |
|  | - validated laboratory developed methods; or | — | — | — |  |  |
|  | - methods adopted by the laboratory | — | — | — |  |  |
| Inappropriate Methods 5.4.2 | ensure laboratory informs the client if the method proposed by the client is inappropriate or out of date |  |  |  |  |  |
| Laboratory-Developed Methods 5.4.3 | ensure laboratory developed methods are planned, and assigned to qualified personnel |  |  |  |  |  |
| Non-standard Methods 5.4.4 | when methods used that are not covered by standard methods, ensure that: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - client approval has been obtained | — | — | — |  |  |
|  | - specifications of client requirements are met | — | — | — |  |  |
|  | - purpose of the test and/or calibration is identified | — | — | — |  |  |
|  | - method is validated before use | — | — | — |  |  |

| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Method Validation 5.4.5 | ensure the method validation includes: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - records of validation | — | — | — |  |  |
|  | - procedure used | — | — | — |  |  |
|  | - a statement that the method is fit for the intended use | — | — | — |  |  |
| Range and Accuracy 5.4.5 | ensure the range and accuracy of the test and/or calibration results are relevant to the clients’ needs |  |  |  |  |  |
| Uncertainty of Measurement 5.4.6 | ensure laboratory has a procedure to estimate the uncertainty of measurement that includes relevant uncertainty components and uses appropriate methods |  |  |  |  |  |
| Calculations and Data Transfers 5.4.7 | ensure calculations and data transfers are checked in a systematic manner |  |  |  |  |  |
| Computers or Automated Equipment 5.4.7 | ensure for computers or automated equipment used: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - the laboratory developed software is sufficiently documented and suitably validated | — | — | — |  |  |
|  | - computers and automated equipment are maintained to ensure proper functioning | — | — | — |  |  |
|  | - appropriate environmental and operating conditions are provided | — | — | — |  |  |
| Protection of Data 5.4.7 | ensure procedures for protection of data are established and include: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - integrity and confidentiality of data entry or collection | — | — | — |  |  |
|  | - storage | — | — | — |  |  |
|  | - transmission | — | — | — |  |  |
|  | - processing | — | — | — |  |  |

| ### 5.5 Equipment |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |
| Operation 5.5.1 to 5.5.4 | ensure all equipment (including that outside the laboratory's control) required for the test and/or calibration procedure is: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - available and functioning properly | — | — | — |  |  |
|  | - capable of achieving required accuracy | — | — | — |  |  |
|  | - compliant with specifications | — | — | — |  |  |
|  | - checked and calibrated before use | — | — | — |  |  |
|  | - operated by authorised personnel | — | — | — |  |  |
|  | - operated using available current instructions on use and maintenance | — | — | — |  |  |
|  | - uniquely identified, where practicable | — | — | — |  |  |
| Records 5.5.5 | ensure records of equipment are maintained and include: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - identity of the equipment and its software | — | — | — |  |  |
|  | - manufacturer's name, model, and serial number or other unique identification | — | — | — |  |  |
|  | - checks that the equipment complies with the laboratory requirement and standard specification | — | — | — |  |  |
|  | - current location, where appropriate | — | — | — |  |  |
|  | - the manufacturer's instructions, if available, or reference to their location | — | — | — |  |  |
|  | - calibration history and due date of next calibration | — | — | — |  |  |
|  | - the maintenance plan, where appropriate, and maintenance carried out to date | — | — | — |  |  |
|  | - any damage, malfunction, modification or repair to the equipment | — | — | — |  |  |

| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Procedures 5.5.6, 5.5.10, 5.5.11 | ensure procedures for measuring equipment are established and include: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - safe handling | — | — | — |  |  |
|  | - transport | — | — | — |  |  |
|  | - storage | — | — | — |  |  |
|  | - use | — | — | — |  |  |
|  | - planned maintenance | — | — | — |  |  |
|  | - checking the calibration status | — | — | — |  |  |
|  | - appropriate correction factors are used, where applicable | — | — | — |  |  |
| Out-of-Service 5.5.7 | ensure equipment subjected to overloading or mishandling, gives suspect results, or shown to be defective or outside of specified limits is taken out-of-service, and is: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - isolated | — | — | — |  |  |
|  | - clearly labelled or marked as being out-of-service | — | — | — |  |  |
|  | - examined for the effect of the defect or departure from specified limits | — | — | — |  |  |
|  | - addressed under the "Control of nonconforming work" procedure | — | — | — |  |  |
| Calibration Status 5.5.8 | ensure equipment calibration status is identified, where practicable |  |  |  |  |  |
| Return to Service 5.5.9 | ensure that if equipment goes outside the direct control of the laboratory, it is checked and validated before being returned to service |  |  |  |  |  |
| Adjustments 5.5.12 | ensure equipment is safeguarded from inadvertent adjustments |  |  |  |  |  |

| ### 5.6 Measurement Traceability |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |  |
| Calibration Program 5.6.1, 5.6.2 | ensure the testing and/or calibration laboratory has a calibration program for its measurement and test equipment |  |  |  |  |  |  |
| Traceability 5.6.2 | ensure the measurements from the laboratory's calibration program are traceable to SI units; where traceability cannot be strictly made to SI units, establish traceability by use of: |  |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |  |
|  | - certified reference materials; or | — | — | — |  |  |  |
|  | - agreed methods (validated with interlaboratory comparison); or | — | — | — |  |  |  |
|  | - consensus standards (validated with interlaboratory comparison) | — | — | — |  |  |  |
| Reference Standards and Reference Materials 5.6.3 | ensure the testing and/or calibration laboratory has procedures for the: |  |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |  |
|  | - calibration of reference standards traceable to SI units | — | — | — |  |  |  |
|  | - traceability of reference material to certified reference materials, where possible | — | — | — |  |  |  |
|  | - intermediate checks for reference standards and/or reference materials | — | — | — |  |  |  |
|  | - transportation and storage of reference standards and/or reference materials | — | — | — |  |  |  |

| ### 5.7 Sampling |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |
| Procedures and Plan 5.7.1 | ensure procedures for sampling are available at the location where required, and include: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - a sampling plan (based on appropriate statistical methods, wherever reasonable) | — | — | — |  |  |
|  | - factors to be controlled to ensure validity of the results | — | — | — |  |  |
|  | - selection of samples | — | — | — |  |  |
|  | - withdrawal and preparation of samples | — | — | — |  |  |
| Deviations 5.7.2 | ensure client-requested deviations from the sampling plan are documented and communicated to the appropriate personnel |  |  |  |  |  |
| Records 5.7.3 | ensure laboratory has procedures for recording sampling data and operations; records to include: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - sampling procedure | — | — | — |  |  |
|  | - sampler identification | — | — | — |  |  |
|  | - environmental conditions (if relevant) | — | — | — |  |  |
|  | - sampling location | — | — | — |  |  |
|  | - basis for sampling procedure statistics, if appropriate | — | — | — |  |  |
| ### 5.8 Handling of Test and Calibration Items |  |  |  |  |  |  |
| Procedures 5.8.1 | document procedures for test and/or calibration item management: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - transportation | — | — | — |  |  |
|  | - receipt | — | — | — |  |  |
|  | - handling | — | — | — |  |  |
|  | - protection | — | — | — |  |  |
|  | - storage | — | — | — |  |  |
|  | - retention and/or disposal | — | — | — |  |  |
| Identification 5.8.2 | ensure laboratory has a system for identifying test and/or calibration items |  |  |  |  |  |

| ITEM | REQUIREMENT | 1 2 3 COMMENTS |
| --- | --- | --- |
| Deficiencies 5.8.3 | ensure any abnormalities and deficiencies upon item receipt are recorded; if in doubt about suitability of item, ensure that client is contacted and instructions are recorded |  |
| Facilities 5.8.4 | ensure laboratory has appropriate facilities to maintain item integrity, and the protection of secured items |  |
| Environmental Conditions 5.8.4 | ensure required environmental conditions for items are maintained, monitored and recorded |  |

| ### 5.9 Assuring the Quality of Test and Calibration Results |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Quality Control 5.9 | ensure laboratory has quality control procedures for monitoring data validity; monitoring may include but is not limited to: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - use of certified reference materials and/or secondary reference materials | — | — | — |  |  |
|  | - participation in interlaboratory comparison or proficiency-testing programs | — | — | — |  |  |
|  | - replicates | — | — | — |  |  |
|  | - retesting or recalibration of retained items | — | — | — |  |  |
|  | - correlation of results for different characteristics of an item | — | — | — |  |  |
| Quality Control Data 5.9 | ensure that the quality control data are reviewed, recorded to detect trends, and, where practicable, statistical techniques are applied |  |  |  |  |  |

| ### 5.10 Reporting the Results |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |
| Test Reports and Calibration Certificates 5.10.2, 5.10.6, 5.10.8 | provide test reports and calibration certificates that contain: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - title | — | — | — |  |  |
|  | - name and address of laboratory | — | — | — |  |  |
|  | - location where test or calibration carried out, if different | — | — | — |  |  |
|  | - report I.D. on each page | — | — | — |  |  |
|  | - name and address of client | — | — | — |  |  |
|  | - identification of method used | — | — | — |  |  |
|  | - unique item identification, description and condition | — | — | — |  |  |
|  | - date of item receipt, where critical to validity | — | — | — |  |  |
|  | - date test or calibration carried out | — | — | — |  |  |
|  | - sampling plan and procedures used, where relevant | — | — | — |  |  |
|  | - test and/or calibration result, with units | — | — | — |  |  |
|  | - name(s), function(s) and signature(s) or equivalent identification of person(s) authorizing the report or certificate | — | — | — |  |  |
|  | - statement to the effect that the results relate only to the items tested or calibrated, where relevant | — | — | — |  |  |
|  | - subcontracted results clearly identified | — | — | — |  |  |

| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Test Result Interpretation 5.10.3 | where necessary for the interpretation of results, ensure test reports include the following: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - variances from the test methods | — | — | — |  |  |
|  | - information on specific test conditions | — | — | — |  |  |
|  | - statement of compliance | — | — | — |  |  |
|  | - statement on the estimated uncertainty | — | — | — |  |  |
|  | - opinions and interpretations, which are clearly marked | — | — | — |  |  |
|  | - additional requested information | — | — | — |  |  |
|  | - date of sampling | — | — | — |  |  |
|  | - identification of the substance, material or product sampled | — | — | — |  |  |
|  | - sampling location | — | — | — |  |  |
|  | - environmental conditions during sampling | — | — | — |  |  |
|  | - sampling method or procedure used, and deviations | — | — | — |  |  |
| Calibration Result Interpretation 5.10.4 | where necessary for the interpretation of results, ensure calibration certificates include the following: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - calibration conditions | — | — | — |  |  |
|  | - uncertainty of measurement | — | — | — |  |  |
|  | - statement of compliance with an identified metrological specification or clause | — | — | — |  |  |
|  | - measurement traceability statement | — | — | — |  |  |
| Compliance Data Records 5.10.4.2 | ensure laboratory maintains records of measurement results and associated uncertainties, when these items are omitted from the reported statement of compliance |  |  |  |  |  |
| Statement of Compliance 5.10.4.2 | ensure uncertainty of measurement is accounted for when statements of compliance are made |  |  |  |  |  |
| Repairs and Adjustments 5.10.4.3 | ensure calibration results before and after adjustments/repairs are reported, if available |  |  |  |  |  |

| ITEM | REQUIREMENT | 1 2 3 COMMENTS |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Calibration Intervals 5.10.4.4 | ensure calibration certificates do not recommend calibration intervals unless requested by the client or legally regulated |  |  |  |  |  |
| Opinions and Interpretations 5.10.5 | ensure laboratory documents the basis upon which opinions and interpretations have been made, when applicable |  |  |  |  |  |
| Amendments 5.10.9 | issue, as necessary, revised test reports and calibration certificates that: |  |  |  |  |  |
|  |  | Yes | No | N/A |  |  |
|  | - reference the original | — | — | — |  |  |
|  | - are identified as supplemental | — | — | — |  |  |
|  | - meet test report or calibration certificate requirements of CAN-P-4D | — | — | — |  |  |